| Project Name: Road Residential Rain Garden |
| --- |
| Location: The Cul-De-Sac by 75 Johanna Farm Road in Flemington, NJ | Subwatershed Priority: High |
| BMP Type and Description: Road Rain Garden |
| Issues and Concerns: Roofs and lawns in residential neighborhoods are considered potential sources of nutrients and sediment in a watershed. Pollutants accumulate on streets (sediment, phosphorus, nitrogen and bacteria). The fertilizer used in residential neighborhoods can be a source of phosphorus and nitrogen. Waste from house pets and wildlife found on homeowners properties can be a source of fecal coliform in a watershed. These accumulated pollutants can be carried to local waterways via stormwater runoff. |
| Existing Conditions: This development is very new; it was constructed within the past few years. It consists of 11 houses on approximately 13.3 acres of land with approximately 3.5 acres of impervious surfaces. Approximately one acre of this impervious surface is the road. Just like driveways and other landscapes, roadways accumulate sediment and other pollutants that get washed away into the stream. The entire development drains into a large detention basin, but it has been well documented that detention basins do not treat stormwater runoff very well, especially for small storms. Before the stormwater runoff is routed to the detention basin, it passes over a measurable amount of the roadway to reach a catch basin. The runoff from the lawns, roofs, driveways and roadways are combined on the roadway before it reaches the catch basin and ultimately the Neshanic River. |
| Proposed Solutions: The roadway for this development routes the stormwater runoff from all the landscapes into the catch basin. Rain gardens can be installed along the roadway to capture the runoff just upstream of the catch basin. These rain gardens can be strategically placed throughout the development to capture all the runoff generated from the development for the New Jersey Stormwater Quality Storm (1.25 inches of rain over two-hours). A curb cut will be made near each catch basin, and the curb cut will allow stormwater runoff to flow off the roadway and into the “road” rain garden. During storms that produce more runoff than the road rain gardens can capture, the water elevation in the rain garden will be equal to the elevation in the road, and the runoff will bypass the rain garden and discharge directly to the catch basin. The road rain garden will be vegetated with woody shrubs and herbaceous plugs. |
| Anticipated Benefits: Since 90% of the rainfall events deliver less than 1.25 inches of rain, the rain garden is expected to capture approximately 90% of the stormwater runoff from the drainage area that it was designed to treat. By capturing and infiltrating runoff from approximately 90% of all the storms during the course of a year, the rain garden will reduce pollutant loads entering the stream by 90%. By installing rain gardens at this site that capture runoff from the entire one acre of roadway, this project would reduce total suspended solids by 180 pounds/year, total phosphorus by 0.81 pounds/year and total nitrogen by 19.8 pounds/year. Additionally, these rain gardens will capture, treat and infiltrate approximately 1.1 million gallons of stormwater runoff per year. |
| Major Implementation Issues: The one serious obstacle to implementing individual rain gardens is the property owner. The property owner has to first agree to have the rain garden installed on their property. The property owner also has to agree to keep the rain garden for a long period of time and to properly maintain the rain garden for the entire time. If the rain garden is not maintained, the rain garden will not work properly. This problem can be overcome by involving the property owner in the design process as much as possible and incorporating their ideas as much as possible. This project may prove more difficult because it requires the installation of multiple rain gardens in close proximity to each home and all of the land owners must be willing to cooperate for the project to be implemented. |
| Possible Funding Sources: 319(h) grants from the New Jersey Department of Environmental Protection |
| Possible Partners/Stakeholders: North Jersey RC&D Flemington Township Hunterdon County Soil Conservation District |
| Task | Task Description | Estimated Cost |
| 1 | Complete topographic survey and soils test | $2,000 |
| 2 | Prepare final design | $5,000 |
|  | Activities for BMP installation (per rain garden) | Unit Costs | Quantity |  |
|  | Install rain garden (assuming most work completed by volunteers) | $2,000 | 1 | $2,000 |
|  | Supervision of volunteers | $1,000 | 1 | $1,000 |
|  | Contingency (20%) | $200 | 1 | $300 |
|  | Total BMP installation costs | $3,300 |
| Estimated total project cost | $10,300 |
| Annual operation and maintenance cost | $500 |
| Supplemental maps, graphs and photos: A concept design of the site, a detail sheet describing different components to the rain garden and location map. |